## Data
# | Date-Time (EDT) | Ch: 1 - Temperature (°C) | Ch: 2 - Light (lux)
1 | 2023-06-19 11:03 | 31.6577 | 1575.68
2 | 2023-06-19 11:05 | 31.6148 | 1543.68
3 | 2023-06-19 11:07 | 31.529 | 1866.24
4 | 2023-06-19 11:09 | 31.4861 | 1077.44
5 | 2023-06-19 11:11 | 31.4861 | 1888
6 | 2023-06-19 11:13 | 31.4432 | 2136.32
7 | 2023-06-19 11:15 | 31.3145 | 1988.48
8 | 2023-06-19 11:17 | 31.2716 | 1172.48
9 | 2023-06-19 11:19 | 31.2716 | 1662.72
10 | 2023-06-19 11:21 | 31.3145 | 1911.68
11 | 2023-06-19 11:23 | 31.3145 | 1300.8
12 | 2023-06-19 11:25 | 31.3574 | 1477.12
13 | 2023-06-19 11:27 | 31.3145 | 1696.64
14 | 2023-06-19 11:29 | 31.5719 | 749.12
15 | 2023-06-19 11:31 | 31.8293 | 576.48
16 | 2023-06-19 11:33 | 32.0867 | 635.68
17 | 2023-06-19 11:35 | 32.4728 | 643.36
18 | 2023-06-19 11:37 | 32.7302 | 820.48
19 | 2023-06-19 11:39 | 32.7731 | 701.76
20 | 2023-06-19 11:41 | 32.7302 | 663.04
21 | 2023-06-19 11:43 | 32.4728 | 1286.72
22 | 2023-06-19 11:45 | 32.6015 | 1148.16
23 | 2023-06-19 11:47 | 32.6444 | 738.24
24 | 2023-06-19 11:49 | 32.6873 | 780.16
25 | 2023-06-19 11:51 | 32.816 | 960.64
26 | 2023-06-19 11:53 | 32.816 | 672.96
27 | 2023-06-19 11:55 | 32.7731 | 785.28
28 | 2023-06-19 11:57 | 32.7302 | 684.8
29 | 2023-06-19 11:59 | 32.816 | 694.08
30 | 2023-06-19 12:01 | 33.2021 | 734.4
31 | 2023-06-19 12:03 | 33.7598 | 738.56
32 | 2023-06-19 12:05 | 34.4033 | 650.88
33 | 2023-06-19 12:07 | 34.6607 | 629.92
34 | 2023-06-19 12:09 | 34.7465 | 590.4
35 | 2023-06-19 12:11 | 34.4891 | 856
36 | 2023-06-19 12:13 | 34.8323 | 1042.88
37 | 2023-06-19 12:15 | 34.8752 | 962.56
38 | 2023-06-19 12:17 | 34.7465 | 955.84
39 | 2023-06-19 12:19 | 34.532 | 1544.96
40 | 2023-06-19 12:21 | 34.6607 | 1255.68
41 | 2023-06-19 12:23 | 34.8323 | 1222.08
42 | 2023-06-19 12:25 | 34.8752 | 1058.88
43 | 2023-06-19 12:27 | 34.8323 | 1099.2
44 | 2023-06-19 12:29 | 34.2746 | 989.12
45 | 2023-06-19 12:31 | 34.6607 | 1108.48
46 | 2023-06-19 12:33 | 35.0897 | 1061.44
47 | 2023-06-19 12:35 | 35.6475 | 953.92
48 | 2023-06-19 12:37 | 36.2481 | 997.76
49 | 2023-06-19 12:39 | 36.7629 | 674.24
50 | 2023-06-19 12:41 | 36.8058 | 271.92
51 | 2023-06-19 12:43 | 37.1061 | 624
52 | 2023-06-19 12:45 | 37.1061 | 815.68
53 | 2023-06-19 12:47 | 37.149 | 678.08
54 | 2023-06-19 12:49 | 37.149 | 618.08
55 | 2023-06-19 12:51 | 36.3768 | 773.76
56 | 2023-06-19 12:53 | 36.9345 | 828.48
57 | 2023-06-19 12:55 | 37.149 | 815.68
58 | 2023-06-19 12:57 | 37.1061 | 651.68
59 | 2023-06-19 12:59 | 37.1061 | 777.6
60 | 2023-06-19 13:01 | 37.1919 | 839.36
61 | 2023-06-19 13:03 | 37.149 | 772.48
62 | 2023-06-19 13:05 | 37.149 | 683.2
63 | 2023-06-19 13:07 | 37.1919 | 653.44
64 | 2023-06-19 13:09 | 36.5484 | 820.8
65 | 2023-06-19 13:11 | 36.9345 | 706.56
66 | 2023-06-19 13:13 | 36.9774 | 683.84
67 | 2023-06-19 13:15 | 37.2777 | 821.76
68 | 2023-06-19 13:17 | 37.7067 | 752.32
69 | 2023-06-19 13:19 | 38.1357 | 817.6
70 | 2023-06-19 13:21 | 38.3931 | 730.88
71 | 2023-06-19 13:23 | 38.3931 | 543.36
72 | 2023-06-19 13:25 | 38.1786 | 728.64
73 | 2023-06-19 13:27 | 38.3931 | 739.52
74 | 2023-06-19 13:29 | 38.3502 | 714.24
75 | 2023-06-19 13:31 | 38.4789 | 743.68
76 | 2023-06-19 13:33 | 38.4789 | 756.48
77 | 2023-06-19 13:35 | 38.436 | 723.52
78 | 2023-06-19 13:37 | 38.436 | 747.52
79 | 2023-06-19 13:39 | 38.4789 | 581.12
80 | 2023-06-19 13:41 | 38.0499 | 981.76
81 | 2023-06-19 13:43 | 38.3931 | 965.76
82 | 2023-06-19 13:45 | 38.436 | 963.2
83 | 2023-06-19 13:47 | 38.436 | 1022.08
84 | 2023-06-19 13:49 | 37.8354 | 1374.72
85 | 2023-06-19 13:51 | 37.9212 | 970.88
86 | 2023-06-19 13:53 | 38.2644 | 964.8
87 | 2023-06-19 13:55 | 38.3931 | 975.68
88 | 2023-06-19 13:57 | 38.4789 | 972.48
89 | 2023-06-19 13:59 | 38.436 | 960.64
90 | 2023-06-19 14:01 | 38.5218 | 969.28
91 | 2023-06-19 14:03 | 38.436 | 943.04
92 | 2023-06-19 14:05 | 38.5218 | 917.76
93 | 2023-06-19 14:07 | 38.436 | 786.88
94 | 2023-06-19 14:09 | 35.9478 | 2675.2
95 | 2023-06-19 14:11 | 33.1592 | 3294.72
96 | 2023-06-19 14:13 | 31.6577 | 2964.48
97 | 2023-06-19 14:15 | 30.9713 | 2684.16

## Events
# | Date-Time (EDT) | Host Connected | End of File | Button Up | Button Down
1 | 2023-06-19 11:09 |  |  | Logged | Logged
2 | 2023-06-19 11:43 |  |  | Logged | Logged
3 | 2023-06-19 11:55 |  |  | Logged | Logged
4 | 2023-06-19 12:10 |  |  | Logged | Logged
5 | 2023-06-19 12:18 |  |  | Logged | Logged
6 | 2023-06-19 12:18 |  |  | Logged | Logged
7 | 2023-06-19 12:28 |  |  | Logged | Logged
8 | 2023-06-19 12:40 |  |  | Logged | Logged
9 | 2023-06-19 12:50 |  |  | Logged | Logged
10 | 2023-06-19 13:08 |  |  | Logged | Logged
11 | 2023-06-19 13:23 |  |  | Logged | Logged
12 | 2023-06-19 13:39 |  |  | Logged | Logged
13 | 2023-06-19 13:48 |  |  | Logged | Logged
14 | 2023-06-19 14:07 |  |  | Logged | Logged
15 | 2023-06-19 14:08 | Logged
16 | 2023-06-19 14:14 |  |  | Logged | Logged
17 | 2023-06-19 14:15 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 1.5.0 (1679294631)
Device Info
|  | Product | MX2202
|  | Serial Number | 21074723
|  | Firmware Version | 59.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 176128
|  | Header Created | 2023/06/19 11:02:37 EDT
Deployment Info
|  | Name | 33C
|  | Location | 1001° 0' 0" N, 1001° 0' 0" E
|  | Group Name | NA
|  | Deployment Number | 22
|  | Wrap Enabled | No
|  | Configure Date | 2023/06/19 11:02:37 EDT
|  | Logging Interval | 0 hour 2 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Stop When Memory Fills
|  | Pause Options | None selected
|  | Audible Alarms | Off
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | On
|  | Upload Data Via | HOBOconnect
Series : Ch: 1 - Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 97
|  | Max | 38.52
|  | Min | 30.97
|  | Avg | 35.25
|  | Std Dev | 2.64
|  | First Sample Time | 2023/06/19 11:02:38 EDT
|  | Last Sample Time | 2023/06/19 14:14:38 EDT
Series : Ch: 2 - Light , lux
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 97
|  | Max | 3294.72
|  | Min | 271.92
|  | Avg | 1028.54
|  | Std Dev | 527.48
|  | First Sample Time | 2023/06/19 11:02:38 EDT
|  | Last Sample Time | 2023/06/19 14:14:38 EDT