## Data
# | Date-Time (EDT) | Ch: 1 - Temperature (°C) | Ch: 2 - Light (lux)
1 | 2023-06-19 11:04 | 31.8722 | 1342.08
2 | 2023-06-19 11:06 | 31.8722 | 984.96
3 | 2023-06-19 11:08 | 31.8293 | 776.64
4 | 2023-06-19 11:10 | 31.8722 | 1242.88
5 | 2023-06-19 11:12 | 31.7864 | 1797.76
6 | 2023-06-19 11:14 | 31.7006 | 1133.12
7 | 2023-06-19 11:16 | 31.6577 | 775.04
8 | 2023-06-19 11:18 | 31.6577 | 1110.4
9 | 2023-06-19 11:20 | 31.7006 | 2039.04
10 | 2023-06-19 11:22 | 31.6148 | 2025.6
11 | 2023-06-19 11:24 | 31.7006 | 1762.56
12 | 2023-06-19 11:26 | 31.6148 | 1843.2
13 | 2023-06-19 11:28 | 31.7864 | 788.48
14 | 2023-06-19 11:30 | 32.0009 | 713.28
15 | 2023-06-19 11:32 | 32.1296 | 664.64
16 | 2023-06-19 11:34 | 32.5157 | 656.32
17 | 2023-06-19 11:36 | 32.7731 | 769.92
18 | 2023-06-19 11:38 | 32.8589 | 720
19 | 2023-06-19 11:40 | 32.8589 | 745.92
20 | 2023-06-19 11:42 | 32.8589 | 1470.72
21 | 2023-06-19 11:44 | 32.7302 | 978.88
22 | 2023-06-19 11:46 | 32.816 | 656.96
23 | 2023-06-19 11:48 | 32.816 | 656.32
24 | 2023-06-19 11:50 | 32.9447 | 984
25 | 2023-06-19 11:52 | 32.9018 | 846.72
26 | 2023-06-19 11:54 | 32.8589 | 542.24
27 | 2023-06-19 11:56 | 32.8589 | 690.24
28 | 2023-06-19 11:58 | 32.9447 | 742.72
29 | 2023-06-19 12:00 | 33.2021 | 757.44
30 | 2023-06-19 12:02 | 33.7598 | 757.76
31 | 2023-06-19 12:04 | 34.3604 | 705.6
32 | 2023-06-19 12:06 | 34.7894 | 781.12
33 | 2023-06-19 12:08 | 34.8752 | 778.56
34 | 2023-06-19 12:10 | 34.2746 | 344.64
35 | 2023-06-19 12:12 | 34.8752 | 1546.88
36 | 2023-06-19 12:14 | 34.961 | 1365.76
37 | 2023-06-19 12:16 | 34.961 | 1432.32
38 | 2023-06-19 12:18 | 34.8752 | 649.6
39 | 2023-06-19 12:20 | 34.8752 | 813.76
40 | 2023-06-19 12:22 | 34.961 | 887.04
41 | 2023-06-19 12:24 | 35.0039 | 824
42 | 2023-06-19 12:26 | 35.0039 | 787.84
43 | 2023-06-19 12:28 | 34.6607 | 1034.56
44 | 2023-06-19 12:30 | 34.7465 | 1047.36
45 | 2023-06-19 12:32 | 35.0897 | 1139.2
46 | 2023-06-19 12:34 | 35.6475 | 833.92
47 | 2023-06-19 12:36 | 36.291 | 1005.12
48 | 2023-06-19 12:38 | 36.8058 | 703.04
49 | 2023-06-19 12:40 | 37.1919 | 237.2
50 | 2023-06-19 12:42 | 37.0632 | 738.56
51 | 2023-06-19 12:44 | 37.1919 | 659.52
52 | 2023-06-19 12:46 | 37.2348 | 837.44
53 | 2023-06-19 12:48 | 37.2348 | 786.88
54 | 2023-06-19 12:50 | 37.1061 | 781.76
55 | 2023-06-19 12:52 | 36.9345 | 925.76
56 | 2023-06-19 12:54 | 37.2348 | 958.08
57 | 2023-06-19 12:56 | 37.2348 | 895.68
58 | 2023-06-19 12:58 | 37.2348 | 765.12
59 | 2023-06-19 13:00 | 37.2348 | 851.84
60 | 2023-06-19 13:02 | 37.2777 | 812.16
61 | 2023-06-19 13:04 | 37.2348 | 710.72
62 | 2023-06-19 13:06 | 37.2777 | 769.92
63 | 2023-06-19 13:08 | 36.6342 | 1071.68
64 | 2023-06-19 13:10 | 37.0203 | 898.88
65 | 2023-06-19 13:12 | 37.1061 | 1024.64
66 | 2023-06-19 13:14 | 37.3206 | 1231.68
67 | 2023-06-19 13:16 | 37.7925 | 804.48
68 | 2023-06-19 13:18 | 38.2215 | 1301.76
69 | 2023-06-19 13:20 | 38.4789 | 1300.8
70 | 2023-06-19 13:22 | 38.5647 | 993.28
71 | 2023-06-19 13:24 | 38.1357 | 717.44
72 | 2023-06-19 13:26 | 38.436 | 712.32
73 | 2023-06-19 13:28 | 38.4789 | 712.32
74 | 2023-06-19 13:30 | 38.5647 | 680.64
75 | 2023-06-19 13:32 | 38.5647 | 688.32
76 | 2023-06-19 13:34 | 38.5647 | 650.4
77 | 2023-06-19 13:36 | 38.5647 | 671.36
78 | 2023-06-19 13:38 | 38.5647 | 456.64
79 | 2023-06-19 13:40 | 37.7067 | 756.8
80 | 2023-06-19 13:42 | 38.3931 | 971.52
81 | 2023-06-19 13:44 | 38.5218 | 837.44
82 | 2023-06-19 13:46 | 38.5218 | 1040.64
83 | 2023-06-19 13:48 | 38.5647 | 760.64
84 | 2023-06-19 13:50 | 38.3073 | 960.32
85 | 2023-06-19 13:52 | 38.5218 | 1336.96
86 | 2023-06-19 13:54 | 38.5647 | 1324.16
87 | 2023-06-19 13:56 | 38.6505 | 1279.68
88 | 2023-06-19 13:58 | 38.5218 | 1328
89 | 2023-06-19 14:00 | 38.6076 | 1260.48
90 | 2023-06-19 14:02 | 38.6076 | 1196.48
91 | 2023-06-19 14:04 | 38.6505 | 1224.32
92 | 2023-06-19 14:06 | 38.5218 | 599.52
93 | 2023-06-19 14:08 | 37.4922 | 1512.96
94 | 2023-06-19 14:10 | 34.6607 | 2141.44
95 | 2023-06-19 14:12 | 33.0305 | 1868.8
96 | 2023-06-19 14:14 | 32.1725 | 1363.84

## Events
# | Date-Time (EDT) | Host Connected | End of File | Button Up | Button Down
1 | 2023-06-19 11:09 |  |  | Logged | Logged
2 | 2023-06-19 11:42 |  |  |  | Logged
3 | 2023-06-19 11:42 |  |  | Logged
4 | 2023-06-19 11:55 |  |  |  | Logged
5 | 2023-06-19 11:55 |  |  | Logged
6 | 2023-06-19 12:10 |  |  | Logged | Logged
7 | 2023-06-19 12:18 |  |  | Logged | Logged
8 | 2023-06-19 12:28 |  |  | Logged | Logged
9 | 2023-06-19 12:40 |  |  | Logged | Logged
10 | 2023-06-19 12:50 |  |  |  | Logged
11 | 2023-06-19 12:50 |  |  | Logged
12 | 2023-06-19 13:08 |  |  | Logged | Logged
13 | 2023-06-19 13:23 |  |  | Logged | Logged
14 | 2023-06-19 13:39 |  |  | Logged | Logged
15 | 2023-06-19 13:49 |  |  |  | Logged
16 | 2023-06-19 13:49 |  |  | Logged
17 | 2023-06-19 13:49 |  |  | Logged | Logged
18 | 2023-06-19 14:07 |  |  |  | Logged
19 | 2023-06-19 14:07 |  |  | Logged
20 | 2023-06-19 14:09 | Logged
21 | 2023-06-19 14:14 |  |  |  | Logged
22 | 2023-06-19 14:14 |  |  | Logged
23 | 2023-06-19 14:14 |  |  | Logged | Logged
24 | 2023-06-19 14:15 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 1.5.0 (1679294631)
Device Info
|  | Product | MX2202
|  | Serial Number | 21524291
|  | Firmware Version | 59.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 176128
|  | Header Created | 2023/06/19 11:04:09 EDT
Deployment Info
|  | Name | 35C
|  | Location | 0° 0' 0" N, 0° 0' 0" E
|  | Group Name | NA
|  | Deployment Number | 1
|  | Wrap Enabled | Yes
|  | Configure Date | 2023/06/19 11:04:09 EDT
|  | Logging Interval | 0 hour 2 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Pause Options | None selected
|  | Audible Alarms | Off
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Ch: 1 - Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 96
|  | Max | 38.65
|  | Min | 31.61
|  | Avg | 35.49
|  | Std Dev | 2.55
|  | First Sample Time | 2023/06/19 11:04:10 EDT
|  | Last Sample Time | 2023/06/19 14:14:10 EDT
Series : Ch: 2 - Light , lux
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 96
|  | Max | 2141.44
|  | Min | 237.20
|  | Avg | 979.87
|  | Std Dev | 372.81
|  | First Sample Time | 2023/06/19 11:04:10 EDT
|  | Last Sample Time | 2023/06/19 14:14:10 EDT