## Data
# | Date-Time (EDT) | Ch: 1 - Temperature (°C) | Ch: 2 - Light (lux)
1 | 2023-06-19 11:06 | 31.6577 | 976
2 | 2023-06-19 11:08 | 31.8293 | 2792.96
3 | 2023-06-19 11:10 | 31.8293 | 1965.44
4 | 2023-06-19 11:12 | 31.9151 | 1162.88
5 | 2023-06-19 11:14 | 31.7864 | 954.24
6 | 2023-06-19 11:16 | 31.7006 | 1169.6
7 | 2023-06-19 11:18 | 31.6148 | 1476.48
8 | 2023-06-19 11:20 | 31.6148 | 1802.24
9 | 2023-06-19 11:22 | 31.6148 | 1735.68
10 | 2023-06-19 11:24 | 31.6148 | 1216
11 | 2023-06-19 11:26 | 31.6148 | 1550.08
12 | 2023-06-19 11:28 | 31.7435 | 2566.4
13 | 2023-06-19 11:30 | 31.9151 | 845.44
14 | 2023-06-19 11:32 | 32.0867 | 704.64
15 | 2023-06-19 11:34 | 32.3441 | 678.08
16 | 2023-06-19 11:36 | 32.6873 | 821.12
17 | 2023-06-19 11:38 | 32.7731 | 795.84
18 | 2023-06-19 11:40 | 32.816 | 849.92
19 | 2023-06-19 11:42 | 32.816 | 389.12
20 | 2023-06-19 11:44 | 32.5157 | 874.24
21 | 2023-06-19 11:46 | 32.816 | 674.88
22 | 2023-06-19 11:48 | 32.7731 | 698.88
23 | 2023-06-19 11:50 | 32.8589 | 895.36
24 | 2023-06-19 11:52 | 32.8589 | 771.52
25 | 2023-06-19 11:54 | 32.816 | 778.24
26 | 2023-06-19 11:56 | 32.6444 | 440
27 | 2023-06-19 11:58 | 32.816 | 1003.84
28 | 2023-06-19 12:00 | 33.0734 | 752.64
29 | 2023-06-19 12:02 | 33.5882 | 1046.72
30 | 2023-06-19 12:04 | 34.1459 | 1470.08
31 | 2023-06-19 12:06 | 34.6607 | 1040
32 | 2023-06-19 12:08 | 34.7894 | 1021.44
33 | 2023-06-19 12:10 | 34.8323 | 687.68
34 | 2023-06-19 12:12 | 34.8323 | 1136.64
35 | 2023-06-19 12:14 | 34.9181 | 982.08
36 | 2023-06-19 12:16 | 34.9181 | 1058.56
37 | 2023-06-19 12:18 | 34.9181 | 688.96
38 | 2023-06-19 12:20 | 34.7465 | 1516.8
39 | 2023-06-19 12:22 | 34.8752 | 1579.52
40 | 2023-06-19 12:24 | 34.961 | 1333.76
41 | 2023-06-19 12:26 | 35.0039 | 1193.28
42 | 2023-06-19 12:28 | 34.9181 | 922.24
43 | 2023-06-19 12:30 | 34.7036 | 1295.68
44 | 2023-06-19 12:32 | 34.961 | 1400.96
45 | 2023-06-19 12:34 | 35.4758 | 976.96
46 | 2023-06-19 12:36 | 36.0336 | 1118.4
47 | 2023-06-19 12:38 | 36.6342 | 1149.44
48 | 2023-06-19 12:40 | 37.0632 | 704.64
49 | 2023-06-19 12:42 | 37.1061 | 714.88
50 | 2023-06-19 12:44 | 37.149 | 770.56
51 | 2023-06-19 12:46 | 37.2348 | 861.44
52 | 2023-06-19 12:48 | 37.2348 | 873.28
53 | 2023-06-19 12:50 | 37.3206 | 757.76
54 | 2023-06-19 12:52 | 36.8058 | 867.52
55 | 2023-06-19 12:54 | 37.1919 | 875.2
56 | 2023-06-19 12:56 | 37.2348 | 726.4
57 | 2023-06-19 12:58 | 37.1919 | 717.12
58 | 2023-06-19 13:00 | 37.2348 | 768.96
59 | 2023-06-19 13:02 | 37.2348 | 755.52
60 | 2023-06-19 13:04 | 37.2348 | 659.52
61 | 2023-06-19 13:06 | 37.2777 | 763.2
62 | 2023-06-19 13:08 | 37.1919 | 593.6
63 | 2023-06-19 13:10 | 36.9774 | 836.48
64 | 2023-06-19 13:12 | 37.0632 | 679.04
65 | 2023-06-19 13:14 | 37.1919 | 752.64
66 | 2023-06-19 13:16 | 37.5351 | 798.4
67 | 2023-06-19 13:18 | 38.007 | 807.68
68 | 2023-06-19 13:20 | 38.3502 | 856.64
69 | 2023-06-19 13:22 | 38.5218 | 666.24
70 | 2023-06-19 13:24 | 37.7496 | 591.04
71 | 2023-06-19 13:26 | 38.3502 | 547.84
72 | 2023-06-19 13:28 | 38.436 | 601.28
73 | 2023-06-19 13:30 | 38.4789 | 616
74 | 2023-06-19 13:32 | 38.5218 | 647.04
75 | 2023-06-19 13:34 | 38.4789 | 619.36
76 | 2023-06-19 13:36 | 38.5647 | 608
77 | 2023-06-19 13:38 | 38.5218 | 543.2
78 | 2023-06-19 13:40 | 38.007 | 1515.52
79 | 2023-06-19 13:42 | 38.1786 | 654.72
80 | 2023-06-19 13:44 | 38.436 | 598.72
81 | 2023-06-19 13:46 | 38.3931 | 640.32
82 | 2023-06-19 13:48 | 38.5218 | 489.76
83 | 2023-06-19 13:50 | 38.4789 | 437.92
84 | 2023-06-19 13:52 | 38.5218 | 562.56
85 | 2023-06-19 13:54 | 38.4789 | 563.36
86 | 2023-06-19 13:56 | 38.5218 | 551.52
87 | 2023-06-19 13:58 | 38.5647 | 555.84
88 | 2023-06-19 14:00 | 38.5218 | 550.24
89 | 2023-06-19 14:02 | 38.4789 | 539.36
90 | 2023-06-19 14:04 | 38.5647 | 540.96
91 | 2023-06-19 14:06 | 38.5218 | 438.72
92 | 2023-06-19 14:08 | 38.4789 | 2258.56
93 | 2023-06-19 14:10 | 35.0468 | 3148.8
94 | 2023-06-19 14:12 | 33.1163 | 3097.6
95 | 2023-06-19 14:14 | 32.2154 | 2443.52

## Events
# | Date-Time (EDT) | Host Connected | End of File | Button Up | Button Down
1 | 2023-06-19 11:10 |  |  | Logged | Logged
2 | 2023-06-19 11:43 |  |  | Logged | Logged
3 | 2023-06-19 11:55 |  |  | Logged | Logged
4 | 2023-06-19 12:10 |  |  | Logged | Logged
5 | 2023-06-19 12:18 |  |  | Logged | Logged
6 | 2023-06-19 12:28 |  |  | Logged | Logged
7 | 2023-06-19 12:40 |  |  |  | Logged
8 | 2023-06-19 12:40 |  |  | Logged
9 | 2023-06-19 12:50 |  |  | Logged | Logged
10 | 2023-06-19 13:08 |  |  | Logged | Logged
11 | 2023-06-19 13:22 |  |  | Logged | Logged
12 | 2023-06-19 13:39 |  |  | Logged | Logged
13 | 2023-06-19 14:07 |  |  | Logged | Logged
14 | 2023-06-19 14:08 | Logged
15 | 2023-06-19 14:14 |  |  | Logged | Logged
16 | 2023-06-19 14:15 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 1.5.0 (1679294631)
Device Info
|  | Product | MX2202
|  | Serial Number | 21524293
|  | Firmware Version | 59.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 176128
|  | Header Created | 2023/06/19 11:05:33 EDT
Deployment Info
|  | Name | 37C
|  | Location | 0° 0' 0" N, 0° 0' 0" E
|  | Group Name | NA
|  | Deployment Number | 1
|  | Wrap Enabled | Yes
|  | Configure Date | 2023/06/19 11:05:33 EDT
|  | Logging Interval | 0 hour 2 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Pause Options | None selected
|  | Audible Alarms | Off
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Ch: 1 - Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 95
|  | Max | 38.56
|  | Min | 31.61
|  | Avg | 35.50
|  | Std Dev | 2.54
|  | First Sample Time | 2023/06/19 11:05:34 EDT
|  | Last Sample Time | 2023/06/19 14:13:34 EDT
Series : Ch: 2 - Light , lux
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 95
|  | Max | 3148.80
|  | Min | 389.12
|  | Avg | 990.84
|  | Std Dev | 561.16
|  | First Sample Time | 2023/06/19 11:05:34 EDT
|  | Last Sample Time | 2023/06/19 14:13:34 EDT