## Data
# | Date-Time (EDT) | Ch: 1 - Temperature (°C) | Ch: 2 - Light (lux)
1 | 2023-06-19 11:06 | 31.4861 | 1131.84
2 | 2023-06-19 11:08 | 31.6577 | 1875.2
3 | 2023-06-19 11:10 | 31.6577 | 1311.36
4 | 2023-06-19 11:12 | 31.7006 | 1978.24
5 | 2023-06-19 11:14 | 31.6148 | 1439.36
6 | 2023-06-19 11:16 | 31.5719 | 1040.32
7 | 2023-06-19 11:18 | 31.5719 | 1603.84
8 | 2023-06-19 11:20 | 31.6148 | 3168
9 | 2023-06-19 11:22 | 31.6577 | 3155.2
10 | 2023-06-19 11:24 | 31.7006 | 2644.48
11 | 2023-06-19 11:26 | 31.6577 | 3347.2
12 | 2023-06-19 11:28 | 31.7435 | 1281.28
13 | 2023-06-19 11:30 | 31.9151 | 872
14 | 2023-06-19 11:32 | 32.0867 | 860.8
15 | 2023-06-19 11:34 | 32.387 | 848.64
16 | 2023-06-19 11:36 | 32.6873 | 1099.2
17 | 2023-06-19 11:38 | 32.7731 | 1014.72
18 | 2023-06-19 11:40 | 32.7731 | 965.12
19 | 2023-06-19 11:42 | 32.6873 | 985.6
20 | 2023-06-19 11:44 | 32.6873 | 653.12
21 | 2023-06-19 11:46 | 32.7302 | 549.28
22 | 2023-06-19 11:48 | 32.7302 | 544.16
23 | 2023-06-19 11:50 | 32.8589 | 617.12
24 | 2023-06-19 11:52 | 32.816 | 585.12
25 | 2023-06-19 11:54 | 32.7731 | 488.96
26 | 2023-06-19 11:56 | 32.6873 | 679.04
27 | 2023-06-19 11:58 | 32.7731 | 877.12
28 | 2023-06-19 12:00 | 33.1592 | 874.56
29 | 2023-06-19 12:02 | 33.7169 | 1064.32
30 | 2023-06-19 12:04 | 34.3604 | 793.92
31 | 2023-06-19 12:06 | 34.7036 | 1041.92
32 | 2023-06-19 12:08 | 34.7894 | 982.08
33 | 2023-06-19 12:10 | 34.103 | 45.94
34 | 2023-06-19 12:12 | 34.7894 | 1266.88
35 | 2023-06-19 12:14 | 34.8323 | 1241.28
36 | 2023-06-19 12:16 | 34.8323 | 1241.92
37 | 2023-06-19 12:18 | 34.8752 | 897.6
38 | 2023-06-19 12:20 | 34.7465 | 947.84
39 | 2023-06-19 12:22 | 34.8752 | 1081.28
40 | 2023-06-19 12:24 | 34.9181 | 947.84
41 | 2023-06-19 12:26 | 34.8752 | 1032.64
42 | 2023-06-19 12:28 | 34.6607 | 1477.12
43 | 2023-06-19 12:30 | 34.532 | 838.4
44 | 2023-06-19 12:32 | 35.0039 | 999.36
45 | 2023-06-19 12:34 | 35.6046 | 758.72
46 | 2023-06-19 12:36 | 36.1623 | 947.2
47 | 2023-06-19 12:38 | 36.6771 | 641.92
48 | 2023-06-19 12:40 | 37.0203 | 1033.6
49 | 2023-06-19 12:42 | 36.9774 | 1129.28
50 | 2023-06-19 12:44 | 37.149 | 878.72
51 | 2023-06-19 12:46 | 37.1919 | 1309.76
52 | 2023-06-19 12:48 | 37.149 | 1063.36
53 | 2023-06-19 12:50 | 37.1919 | 631.36
54 | 2023-06-19 12:52 | 37.0632 | 1493.12
55 | 2023-06-19 12:54 | 37.2348 | 1224.96
56 | 2023-06-19 12:56 | 37.1919 | 1470.72
57 | 2023-06-19 12:58 | 37.1919 | 876.16
58 | 2023-06-19 13:00 | 37.2777 | 1191.68
59 | 2023-06-19 13:02 | 37.2348 | 1087.36
60 | 2023-06-19 13:04 | 37.2348 | 719.68
61 | 2023-06-19 13:06 | 37.2348 | 558.56
62 | 2023-06-19 13:08 | 35.9049 | 978.88
63 | 2023-06-19 13:10 | 36.72 | 720.96
64 | 2023-06-19 13:12 | 36.9345 | 723.52
65 | 2023-06-19 13:14 | 37.1919 | 803.52
66 | 2023-06-19 13:16 | 37.6209 | 727.04
67 | 2023-06-19 13:18 | 38.0499 | 793.92
68 | 2023-06-19 13:20 | 38.3502 | 824.96
69 | 2023-06-19 13:22 | 38.4789 | 773.44
70 | 2023-06-19 13:24 | 38.0928 | 1335.04
71 | 2023-06-19 13:26 | 38.436 | 1308.8
72 | 2023-06-19 13:28 | 38.436 | 1296
73 | 2023-06-19 13:30 | 38.5218 | 1422.08
74 | 2023-06-19 13:32 | 38.5647 | 1374.72
75 | 2023-06-19 13:34 | 38.5647 | 1254.08
76 | 2023-06-19 13:36 | 38.5647 | 1324.16
77 | 2023-06-19 13:38 | 38.5218 | 611.2
78 | 2023-06-19 13:40 | 37.7925 | 657.28
79 | 2023-06-19 13:42 | 38.3502 | 807.68
80 | 2023-06-19 13:44 | 38.4789 | 722.56
81 | 2023-06-19 13:46 | 38.436 | 826.56
82 | 2023-06-19 13:48 | 38.4789 | 623.2
83 | 2023-06-19 13:50 | 37.9212 | 556.96
84 | 2023-06-19 13:52 | 38.3502 | 858.24
85 | 2023-06-19 13:54 | 38.3931 | 841.92
86 | 2023-06-19 13:56 | 38.4789 | 858.24
87 | 2023-06-19 13:58 | 38.436 | 876.16
88 | 2023-06-19 14:00 | 38.5218 | 846.08
89 | 2023-06-19 14:02 | 38.4789 | 858.24
90 | 2023-06-19 14:04 | 38.5647 | 843.52
91 | 2023-06-19 14:06 | 38.436 | 667.52
92 | 2023-06-19 14:08 | 37.0632 | 2776.32
93 | 2023-06-19 14:10 | 34.2317 | 3439.36
94 | 2023-06-19 14:12 | 32.6444 | 2254.72
95 | 2023-06-19 14:14 | 31.8722 | 1154.88

## Events
# | Date-Time (EDT) | Host Connected | End of File | Button Up | Button Down
1 | 2023-06-19 11:10 |  |  |  | Logged
2 | 2023-06-19 11:10 |  |  | Logged
3 | 2023-06-19 11:43 |  |  |  | Logged
4 | 2023-06-19 11:43 |  |  | Logged
5 | 2023-06-19 11:55 |  |  | Logged | Logged
6 | 2023-06-19 12:09 |  |  |  | Logged
7 | 2023-06-19 12:10 |  |  | Logged
8 | 2023-06-19 12:18 |  |  | Logged | Logged
9 | 2023-06-19 12:28 |  |  | Logged | Logged
10 | 2023-06-19 12:40 |  |  | Logged | Logged
11 | 2023-06-19 12:50 |  |  | Logged | Logged
12 | 2023-06-19 13:07 |  |  | Logged | Logged
13 | 2023-06-19 13:22 |  |  | Logged | Logged
14 | 2023-06-19 13:39 |  |  | Logged | Logged
15 | 2023-06-19 13:48 |  |  | Logged | Logged
16 | 2023-06-19 14:07 |  |  | Logged | Logged
17 | 2023-06-19 14:08 | Logged
18 | 2023-06-19 14:14 |  |  | Logged | Logged
19 | 2023-06-19 14:14 |  |  |  | Logged
20 | 2023-06-19 14:14 |  |  | Logged
21 | 2023-06-19 14:14 | Logged
22 | 2023-06-19 14:14 |  |  |  | Logged
23 | 2023-06-19 14:14 |  |  | Logged
24 | 2023-06-19 14:15 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 1.5.0 (1679294631)
Device Info
|  | Product | MX2202
|  | Serial Number | 21524294
|  | Firmware Version | 59.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 176128
|  | Header Created | 2023/06/19 11:06:11 EDT
Deployment Info
|  | Name | 38C
|  | Location | 0° 0' 0" N, 0° 0' 0" E
|  | Group Name | NA
|  | Deployment Number | 1
|  | Wrap Enabled | Yes
|  | Configure Date | 2023/06/19 11:06:11 EDT
|  | Logging Interval | 0 hour 2 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Pause Options | None selected
|  | Audible Alarms | Off
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Ch: 1 - Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 95
|  | Max | 38.56
|  | Min | 31.49
|  | Avg | 35.43
|  | Std Dev | 2.55
|  | First Sample Time | 2023/06/19 11:06:12 EDT
|  | Last Sample Time | 2023/06/19 14:14:12 EDT
Series : Ch: 2 - Light , lux
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 95
|  | Max | 3439.36
|  | Min | 45.94
|  | Avg | 1117.36
|  | Std Dev | 615.94
|  | First Sample Time | 2023/06/19 11:06:12 EDT
|  | Last Sample Time | 2023/06/19 14:14:12 EDT