## Data
# | Date-Time (EDT) | Ch: 1 - Temperature (°C) | Ch: 2 - Light (lux)
1 | 2023-06-19 11:07 | 31.7864 | 189.36
2 | 2023-06-19 11:09 | 32.2154 | 368.48
3 | 2023-06-19 11:11 | 32.0009 | 1212.16
4 | 2023-06-19 11:13 | 31.8722 | 1864.96
5 | 2023-06-19 11:15 | 31.7435 | 2327.68
6 | 2023-06-19 11:17 | 31.5719 | 1407.36
7 | 2023-06-19 11:19 | 31.6148 | 2961.92
8 | 2023-06-19 11:21 | 31.6148 | 2981.12
9 | 2023-06-19 11:23 | 31.7006 | 1709.44
10 | 2023-06-19 11:25 | 31.7435 | 1629.44
11 | 2023-06-19 11:27 | 31.7435 | 2245.76
12 | 2023-06-19 11:29 | 31.8722 | 1255.36
13 | 2023-06-19 11:31 | 32.0009 | 870.08
14 | 2023-06-19 11:33 | 32.2154 | 878.08
15 | 2023-06-19 11:35 | 32.5586 | 1223.36
16 | 2023-06-19 11:37 | 32.7731 | 1146.56
17 | 2023-06-19 11:39 | 32.7731 | 1117.76
18 | 2023-06-19 11:41 | 32.7302 | 653.76
19 | 2023-06-19 11:43 | 32.387 | 2636.8
20 | 2023-06-19 11:45 | 32.6444 | 1058.24
21 | 2023-06-19 11:47 | 32.6873 | 630.72
22 | 2023-06-19 11:49 | 32.7731 | 737.28
23 | 2023-06-19 11:51 | 32.7731 | 699.2
24 | 2023-06-19 11:53 | 32.816 | 765.12
25 | 2023-06-19 11:55 | 32.7731 | 668.48
26 | 2023-06-19 11:57 | 32.7302 | 624
27 | 2023-06-19 11:59 | 32.816 | 725.44
28 | 2023-06-19 12:01 | 33.2879 | 757.44
29 | 2023-06-19 12:03 | 33.8885 | 854.72
30 | 2023-06-19 12:05 | 34.4891 | 891.52
31 | 2023-06-19 12:07 | 34.7036 | 694.08
32 | 2023-06-19 12:09 | 34.7465 | 666.88
33 | 2023-06-19 12:11 | 34.3604 | 770.88
34 | 2023-06-19 12:13 | 34.7894 | 1038.72
35 | 2023-06-19 12:15 | 34.7894 | 973.12
36 | 2023-06-19 12:17 | 34.7465 | 894.08
37 | 2023-06-19 12:19 | 34.0172 | 419.52
38 | 2023-06-19 12:21 | 34.6178 | 1461.12
39 | 2023-06-19 12:23 | 34.7894 | 1326.72
40 | 2023-06-19 12:25 | 34.8752 | 1278.4
41 | 2023-06-19 12:27 | 34.8323 | 887.04
42 | 2023-06-19 12:29 | 34.2317 | 804.16
43 | 2023-06-19 12:31 | 34.6607 | 873.28
44 | 2023-06-19 12:33 | 35.1326 | 872.64
45 | 2023-06-19 12:35 | 35.7333 | 879.36
46 | 2023-06-19 12:37 | 36.3339 | 870.08
47 | 2023-06-19 12:39 | 36.8487 | 456.48
48 | 2023-06-19 12:41 | 36.1194 | 1196.8
49 | 2023-06-19 12:43 | 36.8916 | 913.6
50 | 2023-06-19 12:45 | 37.1061 | 1258.88
51 | 2023-06-19 12:47 | 37.1061 | 864.96
52 | 2023-06-19 12:49 | 37.2348 | 486.24
53 | 2023-06-19 12:51 | 35.8191 | 895.36
54 | 2023-06-19 12:53 | 36.8058 | 975.04
55 | 2023-06-19 12:55 | 37.0632 | 845.44
56 | 2023-06-19 12:57 | 37.149 | 818.56
57 | 2023-06-19 12:59 | 37.0632 | 744
58 | 2023-06-19 13:01 | 37.1919 | 900.16
59 | 2023-06-19 13:03 | 37.1061 | 782.08
60 | 2023-06-19 13:05 | 37.1061 | 771.84
61 | 2023-06-19 13:07 | 37.149 | 694.08
62 | 2023-06-19 13:09 | 36.1194 | 653.76
63 | 2023-06-19 13:11 | 36.8058 | 697.28
64 | 2023-06-19 13:13 | 36.9774 | 603.52
65 | 2023-06-19 13:15 | 37.3206 | 698.24
66 | 2023-06-19 13:17 | 37.7925 | 669.76
67 | 2023-06-19 13:19 | 38.2215 | 734.08
68 | 2023-06-19 13:21 | 38.3502 | 672
69 | 2023-06-19 13:23 | 37.8783 | 1240.96
70 | 2023-06-19 13:25 | 38.1786 | 1240.32
71 | 2023-06-19 13:27 | 38.3502 | 1295.36
72 | 2023-06-19 13:29 | 38.436 | 1323.52
73 | 2023-06-19 13:31 | 38.5218 | 1365.12
74 | 2023-06-19 13:33 | 38.436 | 1173.12
75 | 2023-06-19 13:35 | 38.5218 | 1230.08
76 | 2023-06-19 13:37 | 38.436 | 1257.28
77 | 2023-06-19 13:39 | 38.436 | 539.36
78 | 2023-06-19 13:41 | 37.7496 | 864
79 | 2023-06-19 13:43 | 38.3073 | 822.72
80 | 2023-06-19 13:45 | 38.3502 | 872.64
81 | 2023-06-19 13:47 | 38.436 | 890.88
82 | 2023-06-19 13:49 | 37.149 | 1064.96
83 | 2023-06-19 13:51 | 38.007 | 696.64
84 | 2023-06-19 13:53 | 38.3073 | 682.88
85 | 2023-06-19 13:55 | 38.3931 | 656
86 | 2023-06-19 13:57 | 38.436 | 663.04
87 | 2023-06-19 13:59 | 38.3931 | 677.76
88 | 2023-06-19 14:01 | 38.4789 | 688
89 | 2023-06-19 14:03 | 38.436 | 657.92
90 | 2023-06-19 14:05 | 38.4789 | 620.48
91 | 2023-06-19 14:07 | 37.6209 | 1895.68
92 | 2023-06-19 14:09 | 33.7169 | 2400.64
93 | 2023-06-19 14:11 | 32.1296 | 3098.88
94 | 2023-06-19 14:13 | 31.2716 | 2928.64

## Events
# | Date-Time (EDT) | Host Connected | End of File | Button Up | Button Down
1 | 2023-06-19 11:07 |  |  | Logged | Logged
2 | 2023-06-19 11:08 |  |  | Logged | Logged
3 | 2023-06-19 11:43 |  |  | Logged | Logged
4 | 2023-06-19 11:43 |  |  | Logged | Logged
5 | 2023-06-19 11:55 |  |  | Logged | Logged
6 | 2023-06-19 12:10 |  |  |  | Logged
7 | 2023-06-19 12:10 |  |  | Logged
8 | 2023-06-19 12:18 |  |  |  | Logged
9 | 2023-06-19 12:18 |  |  | Logged
10 | 2023-06-19 12:28 |  |  | Logged | Logged
11 | 2023-06-19 12:40 |  |  | Logged | Logged
12 | 2023-06-19 12:50 |  |  | Logged | Logged
13 | 2023-06-19 13:07 |  |  |  | Logged
14 | 2023-06-19 13:07 |  |  | Logged
15 | 2023-06-19 13:22 |  |  | Logged | Logged
16 | 2023-06-19 13:39 |  |  | Logged | Logged
17 | 2023-06-19 13:48 |  |  | Logged | Logged
18 | 2023-06-19 14:06 |  |  | Logged | Logged
19 | 2023-06-19 14:08 | Logged
20 | 2023-06-19 14:14 |  |  | Logged | Logged
21 | 2023-06-19 14:15 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 1.5.0 (1679294631)
Device Info
|  | Product | MX2202
|  | Serial Number | 20834982
|  | Firmware Version | 59.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 176128
|  | Header Created | 2023/06/19 11:06:55 EDT
Deployment Info
|  | Name | CBASS-Spare
|  | Location | 25° 43' 59" N, 80° 9' 49" W
|  | Group Name | NA
|  | Deployment Number | 17
|  | Wrap Enabled | Yes
|  | Configure Date | 2023/06/19 11:06:55 EDT
|  | Logging Interval | 0 hour 2 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Pause Options | None selected
|  | Audible Alarms | Off
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | On
|  | Upload Data Via | HOBOconnect
Series : Ch: 1 - Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 94
|  | Max | 38.52
|  | Min | 31.27
|  | Avg | 35.34
|  | Std Dev | 2.49
|  | First Sample Time | 2023/06/19 11:06:56 EDT
|  | Last Sample Time | 2023/06/19 14:12:56 EDT
Series : Ch: 2 - Light , lux
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 94
|  | Max | 3098.88
|  | Min | 189.36
|  | Avg | 1063.62
|  | Std Dev | 595.06
|  | First Sample Time | 2023/06/19 11:06:56 EDT
|  | Last Sample Time | 2023/06/19 14:12:56 EDT